Send To:  UW Risk Management

720 University Avenue

Madison, WI  53715

PROPERTY LOSS REPORT

BASIC INFORMATION

# University of Wisconsin - Madison

BUILDING NAME							BUILDING NUMBER							Chemistry  Department						0047

NAME OF PERSON REPORTING LOSS					PHONE NUMBER													262-8745

DATE OF LOSS (MM/DD/YYYY)						TIME OF LOSS (HOUR, AM/PM)							sometime before 12/3/07							unknown

ABOUT THE ITEMS LOST...

PLEASE LIST THE FOLLOWING INFORMATION:																									      	                     	INV# (If Applicable)	       	DESCRIPTION (Name, Model, Ser. #, Etc.)	         		        	YEAR ACQUIRED	             REPL. COST

CAUSE OF LOSS

WHAT WAS THE CAUSE OF LOSS?
E.g., The cause of the loss was hot water dripping onto the system controller and damaging the electronics of the unit.

DESCRIBE HOW THE LOSS OCCURRED:								
E.g., Repairman had previously worked on the hot water heating pipes in the ceiling of the lab.  Hot water had leaked out of the pipes and onto the HPLC lab testing equipment sometime over the prior weekend. We have moved the equipment out of the way and are going to call a company repairman to evaluate the need for repairs or replacement. Work order XXXX has been created to repair the leaking heating pipes.

IF FIRE WAS THE CAUSE OF LOSS, WHICH FIRE DEPARTMENT ATTENDED?	na

IF THEFT, V&MM, OR COLLISION, A POLICE REPORT IS REQUIRED.	na

POLICE DEPARTMENT:		INVESTIGATING OFFICER:		CASE NUMBER:		na

ESTIMATE OF DAMAGE

IS IT A TOTAL LOSS? 	Can not determine as yet					IF YES, LIST VALUE:												can’t tell at this point

ANY SALVAGE? 			yes				IF YES, LIST VALUE:		can’t tell at this point

WHO WAS THE ESTIMATE MADE BY?	WHO WILL MOST LIKELY DO THE REPAIR WORK?									Shimadzu company repairman.

WHAT IS THE ESTIMATED REPAIR TIME?		One month

SIGNATURE

DATE OF REPORT				SIGNATURE OF PERSON FILING REPORT				YOUR DEPT NAME												Chemistry  Department